**Bid solicitation:**

Capay Valley Fire Protection District (CVFPD) is soliciting sealed bids for the replacement of the septic system at Station 22, 7447 CA-16 in Guinda, Ca 95637. Site evaluation and soil testing have already been completed.

**RFP Contact:** Fire Chief Jesse Capitanio, [capayvalley@yahoo.com](mailto:capayvalley@yahoo.com) (email preferred), 530-796-3300

**Schedule of events:**

­­­­­­11/1/2022-11/11/2022 walkthrough opportunities by appointment

11/14/2022 4:00 pm deadline for receiving sealed bids

11/14/2022 7:00 pm Board of Commissioners meeting – bids to be opened at regular October meeting held at Station 22, 7447 CA-16, Guinda Ca. 95637

**Scope of work:**

Installation of one 1500 gallon septic tank with risers of appropriate size and height

Plumbing of inlet and outlet

320’ of standard leach lines, trenches 36” deep, with root barrier, distribution boxes, and observation ports

Obtain all permits, including those from Yolo County

Abandonment of existing septic tank – pumping and disposal of existing tank

Clean up and re-grade work area

**Vendor requirements (to be included with bid):**

Copy of current CSLB license necessary to perform work

Copy of valid Dept. of Industrial Relations registration

3 references

Timeline of completion

List of subcontractors

**Additional requirements:**

For contracts exceeding $25,000 a 100% payment and 100% performance bond will be required. The winning bidder must obtain and submit the bond to Capay Valley Fire Protection District after the award of contract but before work will be allowed to proceed